# ADDENDUM #2

RFP #26-0048

architectural and engineering services for

regional forensic science center laboratory construction and remodel

June 17, 2026

The following is to ensure that vendors have complete information prior to submitting a Request for Proposal.  Here are some clarifications regarding the Architectural and Engineering Services for Regional Forensic Science Center Laboratory Construction and Remodel:

Questions and/or statements of clarification are in bold font and answers to specific questions are italicized.

ADDENDUM NO.1 CLARIFICATIONS

- Has a construction budget been identified for the project?  If so, can that be shared?

CLARIFICATION: Construction budget for the new DNA Lab facility

AND existing RFSC remodeling is $15,316,000.00.

- Do you anticipate any additional bid packages or phased construction between the addition and the renovation?

CLARIFICATION: The DNA Lab facility construction will need to be completed, and Departments relocated before the existing RFSC facility is remodeled.

3.	The RFP references evaluation of the existing roof. Beyond roofing, are there existing building deficiencies, evaluations for improvement, or facility upgrades anticipated?

CLARIFICATION: The HVAC system and ducting in the Autopsy Department will need to be evaluated for potential upgrades/replacements.

Autopsy coolers need to be evaluated for capacity expansion and back-up/overlap systems.

Firms interested in submitting a Request for Proposal must respond with complete information and deliver on or before 1:45 pm CDT, June 23, 2026. Late responses will not be accepted and will not receive consideration for final award.

“PLEASE ACKNOWLEDGE RECEIPT OF THIS ADDENDUM ON THE RFP RESPONSE PAGE.”

Lee Barrier, NIGP-CPP

Senior Purchasing Agent

LB/ks